

 **fcgkj ljdkj**

 **fcgkj jkT; 'kS{kf.kd vk/kkjHkwr lajpuk fodkl fuxe fyŒ**

 BIHAR STATE EDUCATIONAL INFRASTRUCTURE DEVELOPMENT CORPORATION LTD.

 **(A Govt. of Bihar Undertaking)**

 ISO 9001; 14001; OHSAS 18001

 Shiksha Bhawan, Bihar Rashtrabhasha Parishad Campus, Acharya Shivpujan Sahay Path, Saidpur, Patna-800004

 Tel. No.: 0612-2660850 ● Fax No.: 0612-2660256

 E-mail: bseidc@gmail.com ● website: http://www.bseidc.in ● CIN U80301BR2010SGC015859

**nj vkea=.k gsrq vYidkyhu dksVs’ku vkea=.k lwpuk la[;k&02 o"kZ&2020&21**

fcgkj jkT; 'kS{kf.kd vk/kkjHkwr lajpuk fodkl fuxe fyŒ iVuk ds fucaf/kr laosndksa@[;kfr izkIr QeksZa@daifu;ksa ls fnukad%& 26-06-2020 ds vijkgu 03%00 cts rd jkT; ds fofHkUu ftykUrxZr fofHkUu fuekZ.k dk;ksZ esa iz;ksx gsrq AC ls lacaf/kr dk;ksZ gsrq xSj vuqlwfpr enksa dh vkiwfrZ ,oa vf/k"Bkiu ds fy, fuEukafdr enksa gsrq eqgjcan dksVs’ku v/kh{k.k vfHk;ark] fcgkj jkT; 'kS{kf.kd vk/kkjHkwr lajpuk fodkl fuxe fyŒ] iVuk ds dk;kZy; esa izkIr fd;k tk,xk ,oa mlh fnu vijkgu 03%30 cts dksVs’kunkrkvksa ;k muds vf/kd`r izfrfuf/k;ksa ds le{k [kksyk tk,xkA

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sl.****No.** | **Description of items** | **Qty** | **Unit** | **Rate In Digits** | **Rate In Words** |
| 1 | Supplying, Installing, Testing, Commissioning of 1.5 T inverter AC including appropriate stabilizer complete setup of Make- (Daikin/Carrier/Hitachi/Voltas) all complete job as per direction of E/I. | 1 | Each |   |   |
| 2 | Supplying, Installing, Testing, Commissioning of 2.0 T inverter AC including appropriate stabilizer complete setup of Make- (Daikin/Carrier/Hitachi/Voltas) all complete job as per direction of E/I. | 1 | Each |   |   |
| 3 | Supplying, Installing, Testing, Commissioning of 3 T Digital inverter Cassette AC fitted with single rotary compressor (Cooling only) with cordless remote control including installing) of Make- (Daikin/Carrier/Hitachi/Voltas) all complete job as per direction of E/I. | 1 | Each |   |   |
| 4 | Supplying, Installing, Testing, Commissioning of standing vertical 4 Ton AC inverter type having 4 Ton capacity ( Tower AC) including appropriate stabilizer complete setup of make- Daikin/Carrier/Hitachi/Voltas/LG all complete job as per direction of E/I. | 1 | Each |   |   |
| 5 | Supplying, Installation, Testing & Commissioning of Refregent pipe 5/8 and ¼ copper tube with nytral rubber tube insulated including 3 core 2.5 sqmm copper wire all complete job as per direction of E/I. | 1 | Mtr. |   |   |
| 6 | Installation/Shifting , Testing & Commissioning of existing old AC all complete job as per direction of E/I. | 1 | Each |   |   |
| 7 | 4KVA Wall mounted automatic voltage stabilizer with hi/low cut off timer of make V-Guard do do all complete job as per direction of E/I. | 1 | Each |   |   |
| 8 | 5KVA Wall mounted automatic voltage stabilizer with hi/low cut off timer of make- V-Guard/Microtek all complete job as per direction of E/I. | 1 | Each |   |   |
| 9 | Supplying & fitting of Drain with PVC rigid including required fitting and support all complete job as per direction of E/I. | 1 | Mtr. |   |   |
| 10 | Supplying & fitting of powder coated iron structure for placement of outdoor unit all complete job as per direction of E/I. | 1 | Each |   |   |

**fo'ks"k 'krsZ&**

* ;g dksVs’ku flQZ nj fu/kkZj.k gsrq vkeaf=r fd;k x;k gSA
* dksVs’kunkrkvksa dks viuk nj ¼lHkh djksa] GST ,oa <qykbZ O;; ds lkFk½ vad ,oa v{kjksa esa m)`r djuk gksxkA
* fo’ks"k lwpuk ds fy, lwpukiV~V ;k osclkbV [www.prdbihar.gov.in](http://www.prdbihar.gov.in) ,oa [www.bseidc.in](http://www.bseidc.in) ns[ksa vFkok v/kksgLrk{kjh ds dk;kZy; esa dk;kZof/k esa laidZ fd;k tk ldrk gSA

**v/kh{k.k vfHk;ark**

**BSEIDC, iVukA**